## Sheet1
Supplementary Table 1: List of Plugins
SMAP – A modular superresolution microscopy analysis platform for SMLM data
Jonas Ries - European Molecular Biology Laboratory, Heidelberg, Germany
| PLUGIN | DESCRIPTION | REFERENCE
Single-molecule localization |  | Plugins to perform the single-molecule fitting
Image loaders |  | Plugins to import camera images
/+WorkflowModules/ +Loaders
1 | LoaderGUI | Allows selection of different loader plugins from a popup menu. This plugin then calls another loader plugin
2 | TifLoader | Loads raw camera images (single file or direcotry with single images). These can be tiff, files, but also any OME compatible image files. This plugin can load and process images during acquisition for online fitting. With the help of the CameraManager metadata is parsed and passed on to the CameraConverter.
3 | GrabFijiStacks | Opens an instance of Fiji in which you can open any image stack (if large, use virtual stack). This image stack can then be selected in the GUI and used for fitting. As metadata is not parsed, set it manually in the CameraConverter
4 | CameraConverter | Interprets metadata and converts camera ADUs into photons- Metadata can be overwritten manually or loaded from a SMAP _sml.mat data file.
5 | cutoutImages | Cuts out regions from the camera, based on a description in a text file. This can be used when multiple channels are imaged on one camera chip.
6 | fileFeeder | This plugin allows selecting many camera data sets. These are passed on to the Loader Plugin which fits them one after the other.
Filters |  | Plugins to filter images to facilitate peak finding
/+WorkflowModules/+Filters
7 | BG_wavelet | Background estimation using a wavelet filter. Wavelet based background estimation. Two implementations: A trous (can be faster on GPU, but only level 2), and a direct discreet wavelet transform. | adepted from (Izeddin et al., 2012)
8 | MedianBGcalculator | Background calculation based on median filtering. For reasonable computational complexity, the median is calculated for blocks of dx*dx pixels and dt frames. Values are interpolated in x and y.'; | inspired by (Köthe et al., 2014)
9 | ImageNormalize | Performs an Anscombe transform. This converts Poisson noise into Normal distributed noise with unit variance. This can be used to convert the image into a probability map and facilitates segmentation for images with varying background. | (Köthe et al., 2014)
10 | ImageNormalize_noBG | As ImageNormalize, but for the case when no background is calculated. | (Köthe et al., 2014)
11 | fitOnBackground | Subtracts the background prior to fitting. Only recommended for strong static background or centroid-based algorithms.
12 | ImageFilter | Filters the image before peak finding. Included are a Gaussian filter (recommended for beads and if the background is determined independently), a Difference-of-Gaussian filter (works well on most SMLM data) and filtering with an experimental PSF (recommended for non-compact PSFs, e.g. the double-helix PSF.
Peak Finding |  | Segmentation of candidate peaks for localization
/+WorkflowModules/+Peakfinders
13 | PeakFinder | Performs peak-finding according either to local maximum finding or to non-maximum suppression. Cutoff based on absolute numbers, probabilities, or dynamically calculated difference from background. | (Wolter et al., 2010). Algorithm from (Neubeck and Van Gool, 2006).
14 | RoiAdder | Allows the user to select regions of interest on the preview image which to use for fitting, or which to exclude from fitting.
15 | RoiCutterWF | Cuts out regions of interest around peak candidate positions. These are then passed on to the fitter plugin as a stack of ROIs.
16 | RoiCutterWF_group | Similar to RoiCutterWF, but merges localizations persistent over several frames. Cuts out regions of interest around peak candidate positions. If localizations are persistent over several frames, the ROIs are added up to be fitted together.
17 | RoiCutterWF_groupExt | Similar to RoiCutterWF_group, but which localizations to merge is not determined on the fly but given as an input.
18 | Roi_bg | Calculates the background in a ROI around a candidate position from quantile pixel values in a number of previous camera frames.
19 | PeakCombiner | Combines candidate positions from two separate channels into one, and then transforms it back to the second channel. Used for global fitting of multiple simultaneous channels. | manuscript in prearation
Fitters |  | Plugins for fitting / single-molecule localization
/+WorkflowModules/+Fitters
20 | fitterGUI | GUI to select a fitting plugin.
21 | MLE_GPU_Yiming | GPU and CPU-based fitter for 2D and 3D data sets. Uses MLE. Implements Gaussian and spline interpolated PSF models. Includes EM-CCD and sCMOS noise models | (Li et al., 2018)
22 | MLE_global_spline | Global fitter for multiple channels. | manuscript in preparation
23 | FalconHD2D | FALCON: High-density 2D fitter | Speed-optimized version of: (Min et al., 2014)
24 | RadialSymmetry2D | fast CPU fitter based on radial symmetry | (Parthasarathy, 2012)
25 | RadialSymmetry3D | fast CPU fitter based on radial symmetry for 3D data (astigmatism) | (Ma et al., 2015)
26 | iterativeMDfitter | Single-emitter fitter that considers all the candidate localizations. More robust for high-density localization than a single-emitter fitter | manuscript in preparation
Localization Processors |  | Simple postprocessing and saving of fitted localizations
/+WorkflowModules/+LocProcessors
27 | LocFilter | Filters localizations before saving according to photons, PSF, localization precision, log-likelihood. This can dramatically reduce the file size in case a too low cutoff was chosen during the peak finding.
28 | LocSaver | Assembles a localization data structure from the fitted localizations and saves it as a SMAP *.sml file. When fitting via a network, fitting a local copy which is then moved to the destination can be faster.
29 | autoLocSaver | Saves the current localization data object.
30 | OnlineReconstruction | Passes on the fitted localizations to the rendering engine of SMAP. This happens at user-defined time intervals or upon request.
31 | PlotLocsPreview | Plots localizations of a single frame for optimization of fitting parameters
32 | resetView | Resets the view of the rendered image to a defined size and position.
Intensity extraction |  | Methods to estimate single-molecule intensities from images
/+WorkflowModules/+IntensityCalculator
33 | pushLocs | Inserts single-molecule localizations into workflow pipeline
34 | IntLoc2PosN | calculates pixel positions in tiff images from localization positions (nm)
35 | EvaluateIntensity_s | EvaluateIntensity Workflow module that calls intensity evaluators.
36 | roi2int_fitG | Determines intensity around a localization by regression of a Gaussian model with fixed positions and sigma. Either amplitude and background or only the amplitude are fitting parameters
37 | roi2int_expPSF | Determines intensity around a localization by a) regression of an experimental PSF model (amplitude and background or only the amplitude free fitting), or b) by multiplication with an experimental PSF model.
38 | roi2int_sumG | Determines intensity and background in a ROI around localizations by summing up the ROI and a larger ROI
BatchProcessing
39 | Save Batch File: part of /+gui/ GuiLocalize | Saves all fitting parameters for batch processing.
40 | Batchprocessor: /+WorkflowModules | Batch processing for a) fitting of batch files, b) of multiple image stacks, c) automatic fitting of any data written to a default directory
Other
41 | display chooser: /+Work flowModules/+Filters | Select which image to display during preview. Small helper plugin.
42 | workflow starter: /+Work flowModules/+Loaders | Starts a workflow, does not need input.
43 | CameraManager: /shared/imagloaders | Stores all cameras with metadata structure and default settings in a data base. This eliminates the need to specify camera or camera settings when loading raw image data.
44 | SimulateCameraImages: /+WorkflowModules/+Loaders | Workflow plugin to simulate camera raw frames using a realistic fluorophore blinking model, PSF model and camera noise model. Useful to test fitting workflows.
Workflows |  | Workflows for fitting and other tasks
settings/workflows
45 | fit_fastsimple | Standard workflow for most experiements. Consists of peakfinding on a filtered image and an MLE estimator for Gaussian or experimental PSFs.
46 | fit_any_wavelet | Regular fitting workflow for image files. Uses wavelet based backgroud estimation.
47 | fit_tif_Falcon2D | Workflow based on high-density algorithm FALCON | Speed-optimized version of (Min et al., 2014)
Load/Save |  | Plugins to load and save localization data and image data
Load |  | Import plugins
/+File/+Load
48 | Loader_auto | Selects the correct loader based on filename and content
49 | Loader_sml | Loads localization data in the SMAP proprietary format '_sml.mat'
50 | Loader_csvAndMore | loades localization data from a variety of files including text (.csv, .txt), hdf5 or MATLAB files. Localization data properties can be converted to those used in SMAP, and conversions can be saved for repeated use.
51 | Loader_ioPlugin | loader for imagineOptics file format
52 | Loader_settings | loads SMAP GUI settings from any '_sml.mat' file or GUI settings file and applies them to the current SMAP workspace.
53 | Loader_sml_Tiff | loads SMAP localization data including single diffraction limited tiff images, transforms images and performs wavelet filtering on those images
54 | Loader_tif | Loads diffraction-limited tiff images and associates them to an already loaded SMAP data set.
55 | Loader_workflow | Loads SMAP workflows
Save |  | Export plugins
/+File/+Save
56 | export_coordinates | exports localization data in .txt, .csv, .xls format. The user can choose which localization attributes to export and if to export all localizations or filtered localizations.
57 | export_picasso_hdf5 | Exports localizations in the Picasso (Jungmann lab) hdf5 format
58 | saver_settings | saves SMAP GUI settings
59 | SMLMsaver | saves localizations in SMAP proprietary _sml.mat MATLAB format
60 | TifSaver | Saves reconstructed images in tiff format
Processors |  | Plugins for post-processing
Registration of data sets |  | Register multiple channels onto each other
/+Process/+Register
61 | RegisterLocs2 | calculates transformation (global or local) based on localizations (e.g. multi-color beads or fluorophores in ratiometric imaging)
62 | RegisterImages | Register Images calculates shift between rendered images in two layers and writes this shift into the channel tab of the target layer. Transformation can also be saved for later use with Apply Transform'
63 | ApplyTransform | Applies transformation to localizations or Tiff images
64 | Transform2C_interleaved | Applies transformation to localizations where the two channels have been acquired using interleaved excitation.
65 | CombineChannels | Applies transformation to localizations and combines associated localizations into one by averaging localizations from both channels.
66 | XYZdisplacement | Calculates the displacement in x, y and z between two layers
67 | QuantifyChannelDrift | Calculates the difference in x and y between two channels and plots it vs the frame to test for drift between channels over time.
68 | AttachTransformation | Attaches a transformation to the data set. Useful for batch analysis.
69 | Register3Dstacks | Calculates x,y and z shift for individual z stacks to combine them into a whole-cell 3D data set | in preparation
Drift Correction |  | Plugins to correct for drift
/+Process/+Drift
70 | DriftcorrectionXYZ | Drift correction based on redundant cross-correlation. Does not require fiduciary markers, but works with them. Algorithm: the data set is divided into [timepoints] blocks, for which superresolution images are calculated. The displacement between all images is calculated with a FFT-based cross-correlation algorithm. The position of the maxima of the cross-correlation curve are fitted with sub-pixel accuracy with a free elliptical Gaussian. A robust estimator is used to calculate the drift vs frame from all pairwise displacements.
71 | driftcorrectionM | As DriftcorrectionXYZ, but additionally changes the magnification over time. This can sometimes locally correct the drift in live-cell imaging or in case the sample deforms.
72 | Showdriftinfo | Displays the results of the drift correction for a drift corrected data set
73 | applyexistingdriftcorrection | Applies drift correction from other file to current localization data
74 | applyPicassoDriftcorrection | Applies drift correction file from Picasso to current localization data
Grouping |  | Group (merge) localizations
75 | Grouper: /shared/ | Combines (merges, groups) localizations which persist over several frames into a single localization. Accessible in the File GUI.
Assign colors |  | Assign channels in dual-color measurements
/+Process/+Assign2C
76 | Get2CIntImages2cam | Quantifies intensities in the camera images at the position of fluorophores and at transformed positions in the other channel. Also works with two separate cameras.
77 | Get2CIntLocs | Associates localizations in two camera channels and assigns intensites in each channel
78 | Intensity2ManyChannels | Assigns identity (color) to localizations based on intensities in both camera channels. For any number of colors. Free ROIs to select colors.
79 | Intensity2Channel | Assigns identity (color) to localizations based on intensities in both camera channels
80 | GetIntensitiesSALM | As Get2CIntImages, but optimzed for supercritical-angle localization microscopy. | (Deschamps et al., 2014) and manuscript in preparation.
81 | SALMint2z | Calculates z positions from relative intensities in Supercritical-angle localization microscopy | (Deschamps et al., 2014)
Image processing in SMAP
/+Process/+Images
82 | SimulateCameraImages | Plugin to simulate camera raw frames using a realistic fluorophore blinking model, PSF model and camera noise model. Useful to test fitting workflows.
83 | calibrateCMOS | calculates the mean and variancer maps of sCMOS cameras to be used as a camera noise model in the fitter | manuscript in preparation
84 | Rescale_tiff | Change position and magnification of an associated Tiff mage
85 | Tiff_remove_BG | Calculates the background of a tiff image based on wavelet filtering and substracts it
86 | Show_Raw_Data | Shows raw camera images saved with the localization data.
87 | SetTiffLocation | Sets location of associated raw data tiff files. Useful for batch processing.
Modify |  | Plugins that modify localization data
/+Process/+Modify
88 | Connect2Unconnect | Saves the connected (merged) localizations as primary (non-connected) localizations. Can be used to reduce the file size.
89 | CorrectUnconnectbyConnect | Writes the coordiates of the connected (merged) localizations to the corresponding non-connected localizations.
90 | DefineMainCoordinates | Define any fields as main x, y and z coordinates
91 | Mathematics | Simple mathematics on localization fields such as addition, multiplication
92 | MathParser | Complex mathematics on localization fields. Equations using matlab functions are parsed. Previous calculations are saved for quick access.
93 | Mirror | Mirrors localizations
94 | RemoveLocs | Remove localizations inside / outside a user-defined ROI
95 | RenameFields | Renames localization fields
96 | SpatialFilterLocs | Calculates mean / median / max / min / quantile of a specific field (attribute) of localizations in an area around each localization. Useful for displaying color-coded images.
97 | TransformLocsManually | Manually change position, magnification and rotation of localization data
98 | keepfiltered | Keeps only filtered localizations. Can be used to reduce file size.
99 | GroupAny | Combines localizations which have the same value in a selected field
100 | CombineFiles | combines several loaded files into one file
101 | ChangeCamPixelsize | Changes the camera pixel size of a data set
102 | Undo: /+gui | backs up localization data before executing plugin, restores it
103 | AutoSave: /+gui/GuiFile.m | saves localization data and SMAP settings in user-defined invervals
Renderers
104 | renderSMAP: shared | Renders a superresolution image from localizations based on settings in a parameter structure
105 | drawerSMAP: shared | Normalizes rendered superresolution images based on settings in a parameter structure
106 | displayerSMAP: shared | Combines rendered images from different channels and adds scale and color bars.
107 | TotalRender: shared | Executes renderSMAP, drawerSMAP and displayerSMAP to directly go from localizations to final image
108 | gaussrender: shared/myfunctions | Renders each localization as a Gaussian with a sigma proportional to the localization precision
109 | gaussrender_ellipt: shared/myfunctions | Renders each localization as an elliptical Gaussian
110 | gaussrenderT_ellipt: shared/myfunctions | Renders each localization as an elliptical Gaussian. Gaussian kernels are not transparent but opaque and partially block localizations behind for a better 3D effect.
111 | gaussrenderTx_ellipt: shared/myfunctions | Renders each localization as an elliptical ball, completely blocking localizations behind.
112 | histrender: shared/myfunctions | Renders the superresolution image by counting the number of localizations in each pixel
113 | constgaussrender: shared/myfunctions | Renders each localization as a Gaussian with a constant sigma.
114 | Diffraction-limited: shared/renderSMAP | Rendering of diffraction-limited images: Renders each localization with a Gaussian corresponding to the size of the PSF on a grid with pixel sizes corresponding to the camera pixel size.
115 | VoronoiRenderer: /+Analyze/+render | Voronoi-tesselation based image reconstruction | (Andronov et al., 2016)
116 | tif2srimage: shared/private | Displays Tiff images together with localizations.
Reconstruction
117 | Localization Filter: +gui/GuiFilterTable | Filter on any attribute of the localizations
118 | Histogram filter: +gui/GuiHistSlider | Show histogram of values of localization field (attribute) and use sliders to adjust filter range
119 | Overview image: +gui/GuiFormat | Renders overview image. Clicking in overview image centers superresolution image on that spot
120 | Roi in SR image: +gui/GuiFormat | Define ROI in reconstructed superresolution image (point, linear, elliptical, rectangular, polynomial or free hand). Used in numerous plugins.
Analyzers |  | Plugins for analyzing SMLM data
Measure |  | Extract quantitative measurements
+Analyze/+measure
121 | Locstatistics | Locstatistics calculates all kind of statistics for localization data. photons, localization precision, lifetime: how many frames does a fluorophore live (from grouping), background, number of localizations vs. frame.
122 | StatisticsVsTime | Plots the statistics from above vs. Frame or File
123 | Histograms | Calculates histograms and statistics for any localization attribute (field)
124 | lineprofile | Calculates profiles along a linear ROI and fits it with a model of choice. Flat: step function convolved with Gaussian (=Erf). Disk: Projection of a homogeneously filled disk, convolved with Gaussian. Ring: Projection of a ring, convolved with Gaussian. Distance: Two Gaussians at a distance d.
125 | FRCresolution | calculates the resolution based on fourier ring correlation | (Nieuwenhuizen et al., 2013)
126 | ImageDecorrResolution | calculates the resolution based on image decorrelation | (Descloux et al., 2019)
127 | Vibrations | Calculates the Fourier transform of x, y and z to visualize vibrations.
128 | PSFanalysis | Analyzes the point-spread function from a z-stack
Cluster analysis |  | Cluster and density analysis
+Analyze/+cluster
129 | DBSCAN_cluster | Performs DBSCAN clustering | Optimized version of the DBSCAN algorithm from (Caetano et al., 2015)
130 | ClusterVoronoi | Performs Voronoi clustering and returns the density (inverse of voronoi cell) | Uses code from SharpViSu: (Andronov et al., 2016)
131 | density_calculator | Looks at the neighborhood of each localizations and counts number of neighbours in a defined region
132 | ShuffelClusterIndex | Shuffels the index of a cluster. When cluster index is used to assign the color during reconstruction, this allows simple visualization of clustering
133 | SpatialPointPattern | Calculates spatial statistics based on pair correlation and Ripleys K function | Pair correlation functions calculated according to (Sengupta et al., 2011)
Counting of molecules |  | Plugins to count molecules in clusters
+Analyze/+counting
134 | csegmentcluster | Watershed-based segmentation of clusters
135 | cmakehist | make histogram of localizations/cluster
136 | cloadhist | loads histogram of localizations/cluster
137 | locsfromSE | makes histogram of localizations/cluster from segmented clusters in the ROI manager
138 | cfithist | fits histogram of localizaitons/cluster with an analytical model to determine number of proteins, maturation efficiency, number of re-activations.
3D |  | Calibration and rendering for 3D SMLM data
+Analyze/+sr3D
139 | calibrate3DsplinePSF: calibrater3D_so | Starts the gui to calibrate an experimental PSF model from bead stacks. | (Li et al., 2018)
140 | Biplane_getPSFxy | associates size of the PSF in two channels to the localizations in both channels.
141 | calibrate3Daberrations | calibrate fitting errors causd by caused by depth-induced aberrations from stacks of beads immobilized in a gel. | (Li et al., 2019)
142 | correct3Daberrations | apply correction calibrated with calibrate3Daberrations to a data set | (Li et al., 2019)
143 | calibrateSALM | Calibrates the relationship between z position and ratio between super- and under-critical intensities for supercritical-angle localization microscopy. | (Deschamps et al., 2014)
144 | CheckCalibration | Plots real position of bead vs fitted position of beads to validate calibration
145 | gradientEllipticity3D | calculates z from ellipticity (from 3D gradient fit) | (Ma et al., 2015)
146 | Phase2z4Pi | Converts the phase to z position in 4Pi SMLM | related to (Huang et al., 2016)
147 | SxSy2z | calculates z from size of PSF in x and y (astigmatic 3D) or the size of the PSF in channels 1 and 2 (biplane 3D).
148 | Sxsy2zcomplete | As SxSy2z, but for position-dependent z calibration
149 | Viewer3D | Interactive 3D viewer for localization data. Same render options as the standard 2D renderer, includes stereoscopic rendering and export of animations.
150 | sideview | reconstructs side view from localizations in selected ROI
151 | volume3D | renders 3D volume for Imagej/Fiji with 3D Gaussians proportional to localization precision in x/y and z
152 | volume3D_hist | Renders dataset as 3D volumes with intensities corresponding to the number of localizations in voxel
153 | VISPexport | exports localizations in a format compatible with VISP | Exports localizations to be used with VisP (Beheiry and Dahan, 2013)
154 | zSALM | converts relative intensities of super- and undercritical channel into z position | (Deschamps et al., 2014)
Tracking |  | Plugins for single-particle tracking
+Analyze/+tracking
155 | SimpleTracking | Links molecules in consecutive frames for SPT analysis
156 | AnalyzeSPT | Interactive analysis of SPT data
DHPSF |  | Plugins to fit double-helix PSFs
+Analyze/+DHPSF
157 | calibrateDHPSF | 3D calibration using a double helical PSF. | (Lew et al., 2013)
158 | getThresholdDHPSF | Get threshold belongs to the DHPSF analysis | (Lew et al., 2013)
159 | fitDHPSF | Applies 3D calibration model to fit a double helical PSF | (Lew et al., 2013)
Calibrate |  | Plugins that calibrate certain parameters
+Analyze/+calibrate
160 | GainOffsetFFT | Estimates the camera gain and offset from raw data images. | (Heintzmann et al., 2016)
Other |  | Analysis plugins that do not fit any other category
+Analyze/+other
161 | BatchAnalysis | Batch analysis of many files with defined plugins
162 | BlinkingMoviePresentation | BlinkingMoviePresentation renders a movie with the left side showing the camera images and the right side showing sngle molecule localizations slowly building up a superresolution image
163 | CompareToGroundTruth | Compares fitted data of simulated images to ground truth and calculates several quality metrics
164 | CompareToGroundTruthChallenge | Compares fitted localization data to the ground truth for the SMLM challenge data, using the SMLM challenge java tool. | (Sage et al., 2019)
165 | FilterField | Filters a localization attribute. This is mainly used for the BatchAnalysis plugin.
166 | ShowHistory | Displays parameters of all plugins which were used previously to process localization data
167 | VersatileRenderer | Render any field vs any other using any 3rd field for coloring
168 | PushToFiji | opens the reconstructed superresolution image in Fiji
169 | Movie Running Window | reconstruct a movie with running average from live-cell data
ROI manager |  | Framework to segment, annotate and analyze regions of interest in many files
+gui/SEAnnotation
170 | Annotate ROIs | Annotate ROIs using lists of user-defined tags or up to four user-defined linear or arbitrary image-ROIs.
Evaluators |  | Plugins that act on single ROIs and compute parameters from those
+ROIManager/+Evaluate
171 | general statistics | number of localizations, average PSF size etc.
172 | beadCalibrationParameters | Plots PSF size in x,y for an elliptical Gaussian fit vs the frame to check for consistencies of beads in a bead stack
173 | CenterPoints | Centers the ends of a linear ROI onto the median or mean of the coordinates of the localizations in the ROI. Used to improve manual selection in selectCoordinates2Color. This can be used to measure distances between objects in two channels.
174 | CenterSites | Calculates the center coordinates (in x,y, and z) of structures in a ROI, based on median, mean, circular fit or cross-correlation with a mask and shifts the ROI to center of the structure.
175 | circleFitter | Fits circular model to localizations in the ROI to determine the radius and center coordinates of circular structures.
176 | counting statistics | calculates number of localizations with different dark times. Used for locsfromSE plugin (see counting)
177 | intensity Tiff | intensity of a diffraction limited reference image at the position of structure in the ROI.
178 | lineprofile | Calculates the line-profile along user-defined direction and fits it with a Gaussian or double-Gaussian model
179 | LocIndices | Reads out the indices of the localizations inside the ROI and stores them. This can greatly accelarate evaluation of data sets with a very large number of localizations.
180 | NPCgeomtryQuantify | Calculates radius, distance between rings and angular shift between rings for the nuclear pore complex (NPC). | (Thevathasan et al., 2019)
181 | NPCLabelingQuantify_s | Calculates the number of visible corners in an NPC which is used to evaluate the absolute effective labeling efficiency. | (Thevathasan et al., 2019)
182 | NPCsegmentCleanup | Evaluates properties of the structure (number of localizations, size of radius of ring, localizations inside or outside of ring,… to determine if an automatically segmented structure resembles a nuclear pore complex. Used to clean up automatic segmentation. | (Thevathasan et al., 2019)
183 | selectCoordinates2Color | Displays the images of layer 1 and layer 2 next to each other and allows user to precisely position a point-ROI. This is then translated to the endpoints of a linear ROI associated to the structure. Used to measure precise distances between two structures of different color.
184 | CME2DRing | Fit endocytic sites with a ring model. | (Mund et al., 2018)
185 | clusterAnalysis | performs clustering on data using dbscan, k-means, k-medion, Gaussian mixture models or hierarchical clustering and returns positions of clusters and statistics.
Analyzers |  | Act on many ROIs. Either plot / modify ROIs or analyze the results of evaluators
+ROIManager/+Analyze
186 | analyzeNPCquantification | Performs statistics on the results of NPCLabelingQuantify_s | (Thevathasan et al., 2019)
187 | AverageSites | Calculates an average of selected ROIs by overlaying them and storing all localizations into a new file.
188 | BatchAnalyze | Performs the same evaluation (list of evaluation plugins) and analysis on many files.
189 | export_3Dvolumes | Exports selected ROIs as 3D volumes (.em or .tiff format).
190 | export_tiffs | Exports superresolution reconstructions of selected ROIs
191 | FilterSites | Filter sites based on any logical combination or arbitrary mathematical expression of evaluation results
192 | ImportSitePositions | Import positions of ROIs from existing file and add those as ROIs in the current file.
193 | mkMovieByFilter | Export ROIs as a movie (running window averaging)
194 | NPCGeometry | Extensive anlaysis of the geometry of the NPC, based on the evaluation plugin NPCgeometryQuantify | (Thevathasan et al., 2019)
195 | NPCLabelingEfficiency | Calculates the absolute effective labeling efficiency from NPC images using the results of evaluator: NPCLabelingQuantify_s. | (Thevathasan et al., 2019)
196 | RemoveDoubleSites | Removes ROIs that are too close together or overlapping
197 | RemoveEmptyCells | Removes cells that do not contain any sites
198 | roiMontage | makes a montage of many ROIs
199 | RunAnalysisScript | Simple analysis scripts can be saved under +ROIManager/+Anlaysis/scripts. These can be called from the GUI using this plugin.
200 | SaveSiteParameters | Exports evaluation results and additional ROI parameters
201 | Sitenumbers2loc | Adds two fields (attributes) to the localization data containing the site number and the cell number, respectively.
202 | SortCells | Sort cell list according to user-defined parameter
203 | SortROIs | Sort ROIs (sites) according to any parameter (e.g. evaluation results) or to combination of parameters.
204 | AnalyzeRingCME | calculates radial density distributions. | (Mund et al., 2018)
Segmenters |  | Segment ROIs
+ROIManager/+Segment
205 | files2sites | generates a site (ROI) and a cell for each file
206 | makeCellGrid | Generates a grid of cells for all files
207 | RemoveLocsOutsideSites | Removes all localizations that are not part of a segmented ROI. Can dramatically reduce file size.
208 | segmentBeads | Segments beads
209 | segmentCellsCME | Segments yeast cells with labeled endocytic sites. Foucs on top or bottom pole. | (Mund et al., 2018)
210 | segmentCellsCMEeq | This plug-in is designed for segmentation of yeast cells at their equatorial planes. First, noise will be removed according to their clustered density. Locs will then be converted to pixel images. Next, mask will be generated based on the images and thresholding after gaussian filtering applied. An watershed segmentation algorithm will then be applied. Regions attached to the edge of fields will be further removed. After small objects in the images are removed, cell centers will be set to the mid points of cells along x and y axses. | (Mund et al., 2018)
211 | segmentNPC | Segmenter for nuclear pore complexes. Looks for circular structures of a defined size. | (Thevathasan et al., 2019)
212 | segmentSitesPolarCME | Segments endocytic sites in yeast in a top view (focus at poles of cells). | (Mund et al., 2018)
213 | SimulateSites | SimulateSites is a localization based simulation engine for SMAP. It uses as an input a list of localizations, a matlab function that returns coordinates or an image which defines a 2D structure. It returns simulated localizations to SMAP using a realistic model for the photophysics of the dye. Simulated structures are added to the RoiManager.
214 | UseSitesInROI | Selects only those sites (ROIs) for further analysis that are inside a user-defined ROI in the main SMAP superresolution figure
Other |  | Additional functions and plugins
215 | Calibrate cameras | Micromanger script to determine gain and offset
Templates
216 | Plugin_Template | template for plugin which acts on localizations
217 | Workflow_Template | template for workflow plugin, often used for fitting pipeline
Useful functions
218 | openstackinfiji: plugins/shared/ | opens any image in Fiji. Current image can be opened in fiji with Menu/SMAP/Open current image in fiji
References
1 | Andronov, L., Lutz, Y., Vonesch, J.-L., and Klaholz, B.P. (2016). SharpViSu: integrated analysis and segmentation of super-resolution microscopy data. Bioinformatics btw123.
2 | Beheiry, M.E., and Dahan, M. (2013). ViSP: representing single-particle localizations in three dimensions. Nat. Methods 10, 689–690.
3 | Caetano, F.A., Dirk, B.S., Tam, J.H.K., Cavanagh, P.C., Goiko, M., Ferguson, S.S.G., Pasternak, S.H., Dikeakos, J.D., de Bruyn, J.R., and Heit, B. (2015). MIiSR: Molecular Interactions in Super-Resolution Imaging Enables the Analysis of Protein Interactions, Dynamics and Formation of Multi-protein Structures. PLoS Comput. Biol. 11, e1004634.
4 | Deschamps, J., Mund, M., and Ries, J. (2014). 3D superresolution microscopy by supercritical angle detection. Opt. Express 22, 29081–29091.
5 | Descloux, A., Grußmayer, K.S., and Radenovic, A. (2019). Parameter-free image resolution estimation based on decorrelation analysis. Nat. Methods 16, 918–924.
6 | Heintzmann, R., Relich, P.K., Nieuwenhuizen, R.P.J., Lidke, K.A., and Rieger, B. (2016). Calibrating photon counts from a single image. ArXiv161105654 Astro-Ph Physicsphysics.
7 | Huang, F., Sirinakis, G., Allgeyer, E.S., Schroeder, L.K., Duim, W.C., Kromann, E.B., Phan, T., Rivera-Molina, F.E., Myers, J.R., Irnov, I., et al. (2016). Ultra-High Resolution 3D Imaging of Whole Cells. Cell 166, 1028–1040.
8 | Izeddin, I., Boulanger, J., Racine, V., Specht, C.G., Kechkar, A., Nair, D., Triller, A., Choquet, D., Dahan, M., and Sibarita, J.B. (2012). Wavelet analysis for single molecule localization microscopy. Opt. Express 20, 2081–2095.
9 | Köthe, U., Herrmannsdörfer, F., Kats, I., and Hamprecht, F.A. (2014). SimpleSTORM: a fast, self-calibrating reconstruction algorithm for localization microscopy. Histochem. CELL Biol. 1–15.
10 | Li, Y., Mund, M., Hoess, P., Deschamps, J., Matti, U., Nijmeijer, B., Sabinina, V.J., Ellenberg, J., Schoen, I., and Ries, J. (2018). Real-time 3D single-molecule localization using experimental point spread functions. Nat. Methods 15, 367–369.
11 | Li, Y., Wu, Y.-L., Hoess, P., Mund, M., and Ries, J. (2019). Depth-dependent PSF calibration and aberration correction for 3D single-molecule localization. Biomed. Opt. Express 10, 2708–2718.
12 | Ma, H., Xu, J., Jin, J., Gao, Y., Lan, L., and Liu, Y. (2015). Fast and Precise 3D Fluorophore Localization based on Gradient Fitting. Sci. Rep. 5, 14335.
13 | Min, J., Vonesch, C., Kirshner, H., Carlini, L., Olivier, N., Holden, S., Manley, S., Ye, J.C., and Unser, M. (2014). FALCON: fast and unbiased reconstruction of high-density super-resolution microscopy data. Sci. Rep. 4, 4577.
14 | Mund, M., van der Beek, J.A., Deschamps, J., Dmitrieff, S., Hoess, P., Monster, J.L., Picco, A., Nédélec, F., Kaksonen, M., and Ries, J. (2018). Systematic Nanoscale Analysis of Endocytosis Links Efficient Vesicle Formation to Patterned Actin Nucleation. Cell 174, 884-896.e17.
15 | Neubeck, A., and Van Gool, L. (2006). Efficient non-maximum suppression. Y. Tang, S. Wang, G. Lorette, D. Yeung, and H. Yan, eds. (IEEE COMPUTER SOC), pp. 850–855.
16 | Nieuwenhuizen, R.P.J., Lidke, K.A., Bates, M., Puig, D.L., Grünwald, D., Stallinga, S., and Rieger, B. (2013). Measuring image resolution in optical nanoscopy. Nat. Methods 10, 557–562.
17 | Parthasarathy, R. (2012). Rapid, accurate particle tracking by calculation of radial symmetry centers. Nat. Methods.
18 | Sage, D., Pham, T.-A., Babcock, H., Lukes, T., Pengo, T., Chao, J., Velmurugan, R., Herbert, A., Agrawal, A., Colabrese, S., et al. (2019). Super-resolution fight club: assessment of 2D and 3D single-molecule localization microscopy software. Nat. Methods.
19 | Sengupta, P., Jovanovic-Talisman, T., Skoko, D., Renz, M., Veatch, S.L., and Lippincott-Schwartz, J. (2011). Probing protein heterogeneity in the plasma membrane using PALM and pair correlation analysis. Nat. Methods 8, 969.
20 | Thevathasan, J.V., Kahnwald, M., Cieśliński, K., Hoess, P., Peneti, S.K., Reitberger, M., Heid, D., Kasuba, K.C., Hoerner, S.J., Li, Y., et al. (2019). Nuclear pores as versatile reference standards for quantitative superresolution microscopy. Nat. Methods 16, 1045–1053.
21 | Wolter, S., Schüttpelz, M., Tscherepanow, M., van de Linde, S., Heilemann, M., and Sauer, M. (2010). Real-time computation of subdiffraction-resolution fluorescence images. J. Microsc. 237, 12–22.